## Slide 1
Step-by-Step Guide for Online
Meniscus Lesion Diagnosis System

## Slide 2
Click this button to choose your preferred system language
Step 1: Access the Platform
Step 1. Access the System
Step 1. Access the System
  Visit Login Page - AI Imaging Platform
  Username: doctor Password:abc123
  Contract the correspondence author for an account

## Slide 3
Step 2: Enter meniscus diagnosis system
  Switch to MRI tab after logging in
  Click the “knee joint icon” to enter meniscus lesion diagnosis system
Click to enter

## Slide 4
Step 3: Upload dicom files for diagnosis
  Click the “Import” button in the top-right toolbar（①）
  Click the cloud icon to open the file browser（②）
  Choose the DICOM folder containing the study you want to diagnose.
  Make sure the selected DICOM files include PD-SAG and PD-COR sequences (or equivalent protocols). For detailed sequence parameters, refer to the methodology section of the paper.

## Slide 5
Step 3: Upload dicom files for diagnosis - Continued
Click the “Confirm” button (①) to start processing the uploaded study
Click the queue management button (②) in the bottom-right corner to view archiving & computing status:
  Newly added studies will first appear in the “Archiving” tab (③) (may remains for a few seconds). Then switch to “Computing” tab to view computing status (④: about to compute; ⑤: computing). Remember the Study ID (red rectangle) displayed in the Computing tab for later result retrieval.
  Computation is complete when the “Computing” tab shows “No Case Found“ (⑥).
Click Back button (⑦) on the top-right to go back to study table view

## Slide 6
Step 4: Open Diagnostic Report Page
  In the Study Table View, double-click the Study ID you uploaded earlier to open the Diagnostic Report Page.
Double-click to open diagnostic report page

## Slide 7
Step 5: Diagnostic Report Page
前交叉韧带 | Anterior Cruciate Ligament, (ACL)
后交叉韧带 | Posterior Cruciate Ligament,(PCL)
正常 | Normal
断裂 | Rupture
把握度 | Confidence Level
半月板-内侧 | Medial Meniscus
半月板-外侧 | Lateral Meniscus
盘状半月板 | Discoid Meniscus
桶柄样撕裂 | Bucket-Handle Tear
前根部撕裂 | Anterior Root Tear
后根部撕裂 | Posterior Root Tear
前角 | Anterior Horn
体部 | Body (meniscus)
后角 | Posterior Horn
一度 | Grade I
二度 | Grade II
三度 | Grade III
消失 | Absent
Table: Terminology Translation
Switch Slice
Adjust Window
Pan
Zoom
Magnifier
Layout
Corner Info
Synchronization
Length Measurement
Cross Reference Line
Show AI Annotations
Cross Series Location
Panel1(active / clicked)
Panel2
View Report Button
Click the thumbnail on the left to load the sequence into the active panel
Click the "View Report" button to access the diagnostic report.